## Sheet1
Efficient Showers (numbers not used for tank design)

		Start Temp (f)	Use Temp (f)	Gallon / minute	Btu / minute	% savings over standard
	Standard	55	105	2	830	0.00%
	Energy Efficient	55	98	1	356.9	57.00%
	Heat Exchange	80	105	2	415	50.00%
	Both EE and HE	80	98	1	149.4	82.00%

Hot water usage

		Start Temp (f)	Use Temp (f)	Gallon / Day	Btu / day
	shower	80	98	10	1494
	dishwasher	55	120	2.5	1348.75

Tank 1: Design

	Storage (gal)	80
	dimensions (ft)	2.2	2.2	2.20958901243328
	surface area (sq ft)	29.1243833094129
	Insulation r value	30
	ambient temp (f)	70
	Usable Heat storage (Btu) 170 – 100 f	46480
	Energy needed to charge (kWh)	13.62

Tank 1: 7 Day Performance

	Day	Start Temp (f)	Used (Btu)	Tank Loss (Btu)	End Temp (f)
	1	170	2842.75	2329.95066475303	162		https://rimstar.org/renewnrg/heat_transfer_loss_calculations.htm
	2	162	2842.75	2148.44257209626	155		https://www.e-education.psu.edu/egee102/node/2003
	3	155	2842.75	1973.3035291555	147
	4	147	2842.75	1804.31004840638	140
	5	140	2842.75	1641.24648441644	134
	6	134	2842.75	1483.90475866921	127
	7	127	2842.75	1332.08409404393	121

Tank 2: Design

	Storage (gal)	100
	dimensions (ft)	2.37	2.37	2.37996288437062
	surface area (sq ft)	33.7958481438335
	Insulation r value	20
	ambient temp (f)	70
	Usable Heat storage (Btu) 170 – 100 f	58100
	Energy needed to charge (kWh)	17.03

Tank 2: 7 Day Performance

	Day	Start Temp (f)	Used (Btu)	Tank Loss (Btu)	End Temp (f)
	1	170	2842.75	4055.50177726002	162
	2	162	2842.75	3718.44307433634	154
	3	154	2842.75	3397.85355416867	146
	4	146	2842.75	3092.92850832401	139
	5	139	2842.75	2802.90254760411	132
	6	132	2842.75	2527.04768084988	126
	7	126	2842.75	2264.67148761839	120